## Executive_Summary
MASTER QUALITY AUDIT - EXECUTIVE SUMMARY
Generated: 2026-01-23 21:03:58
Git Hash: 5b92dd1
DATASET OVERVIEW
Total Recordings: | 5
Accepted: | 5 | 100.0% | ACCEPT
Need Review: | 0 | 0.0% | REVIEW
Rejected: | 0 | 0.0% | REJECT
QUALITY SCORE STATISTICS
Mean Score: | 93.16
Min Score: | 92.80
Max Score: | 94.00
COMPONENT SCORES (MEAN)
Calibration: | 98.0
Temporal: | 100.0
Interpolation: | 100.0
Filtering: | 70.0
Reference: | 100.0
Biomechanics: | 76.4
Signal: | 100.0

## Quality_Report
Run_ID | Subject_ID | Session_ID | Processing_Date | Pipeline_Version | Total_Frames | Duration_Sec | Sampling_Rate_Hz | OptiTrack_Error_mm | Raw_Missing_% | Bone_CV_% | Bone_Status | Worst_Bone | Interpolation_Method | Target_Fs_Hz | Time_Grid_Std_Dt | Temporal_Status | Resample_Interp_Positions | Resample_Interp_Rotations | Filter_Cutoff_Hz | Filter_Method | Winter_Failed | Winter_Failure_Reason | Filter_Decision_Reason | Residual_RMS_mm | Residual_Slope | Ref_Quality_Score | Ref_Confidence | Left_Offset_Deg | Right_Offset_Deg | Subject_Height_cm | Height_Status | Subject_Mass_kg | Pipeline_Status | Max_Ang_Vel_deg_s | Max_Ang_Accel | Max_Lin_Accel | Outlier_Frames | Outlier_% | Residual_RMS | Quat_Norm_Err | Path_Length_mm | Intensity_Index | Sample_Jitter_ms | Jitter_Status | Fallback_Count | Fallback_Rate_% | Max_Gap_Frames | Interpolation_Status | Filter_Search_Range | Region_Cutoffs | ISB_Compliant | Math_Status | Math_Decision_Reason | Burst_Artifact_Count | Burst_Count | Burst_Flow_Count | Burst_Total_Events | Artifact_Rate_% | Max_Consecutive_Frames | Mean_Event_Duration_ms | Burst_Decision | Burst_Decision_Reason | Data_Usable | Excluded_Frames | Artifact_Frame_Ranges | Burst_Frame_Ranges | Clean_Max_Vel_deg_s | Clean_Mean_Vel_deg_s | Max_Vel_Reduction_% | Data_Retained_% | Overall_Gate_Status | Quality_Score | Research_Decision | Score_Calibration | Score_Temporal | Score_Interpolation | Score_Filtering | Score_Reference | Score_Biomechanics | Score_Signal | Biomech_Physiological_Score | Biomech_Skeleton_Score | Biomech_Continuity_Score | Biomech_Velocity_Source | Biomech_Velocity_Assessment | Biomech_Accel_Assessment | Biomech_Bone_Stability | Biomech_Burst_Assessment | Biomech_Artifact_Assessment | Biomech_Neutralization_Applied
763_T2_P1_R1_Take 2025-12-25 10.51.23 AM_002 | 763 | T2 | 2026-01-23 21:00 | v2.6_calibration_enhanced | 30457 | 253.8 | 120 | 0 | 0 | 0.404 | GOLD | Hips->Spine | linear_quaternion_normalized | 120 | 0 | PERFECT | CubicSpline | SLERP | 0 | Per-Region Winter Cutoff Selection | N/A | N/A | N/A | 0 | 0 | 0.987 | HIGH | 4.27 | 3.8 | 149.26 | N/A | 0 | FAIL | 1368 | 81304.33 | 69825.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0005 | PASS | 0 | 0 | 0 | PASS | N/A | {'trunk': 6.0, 'head': 7.0, 'upper_proximal': 8.0, 'upper_distal': 10.0, 'lower_proximal': 8.0, 'lower_distal': 10.0} | TRUE | PASS | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | PASS | No high-velocity events detected | TRUE | 0 | None | None | 1368 | 45.59 | 0 | 100 | PASS | 94 | ACCEPT | 100 | 100 | 100 | 70 | 100 | 80 | 100 | 50 | 100 | 100 | clean | PLAUSIBLE | EXTREME | EXCELLENT | NORMAL | MINIMAL | TRUE
734_T1_P1_R1_Take 2025-12-01 02.18.27 PM | 734 | T1 | 2026-01-23 20:59 | v2.6_calibration_enhanced | 30798 | 256.6 | 120 | 0 | 0 | 0.408 | GOLD | Hips->Spine | linear_quaternion_normalized | 120 | 0 | PERFECT | CubicSpline | SLERP | 0 | Per-Region Winter Cutoff Selection | N/A | N/A | N/A | 0 | 0 | 0.82 | HIGH | 10.13 | 11.34 | 152.65 | N/A | 0 | PASS | 1026.98 | 42551.5 | 38871.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0005 | PASS | 0 | 0 | 0 | PASS | N/A | {'trunk': 6.0, 'head': 7.0, 'upper_proximal': 8.0, 'upper_distal': 10.0, 'lower_proximal': 8.0, 'lower_distal': 10.0} | TRUE | PASS | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | PASS | No high-velocity events detected | TRUE | 0 | None | None | 1026.98 | 31.98 | 0 | 100 | PASS | 93.4 | ACCEPT | 90 | 100 | 100 | 70 | 100 | 86 | 100 | 65 | 100 | 100 | clean | PLAUSIBLE | HIGH | EXCELLENT | NORMAL | MINIMAL | TRUE
505_T2_P1_R1_Take 2025-11-17 05.24.24 PM | 505 | T2 | 2026-01-23 20:56 | v2.6_calibration_enhanced | 31257 | 260.5 | 120 | 0 | 0 | 0.41 | GOLD | Hips->Spine | linear_quaternion_normalized | 120 | 0 | PERFECT | CubicSpline | SLERP | 0 | Per-Region Winter Cutoff Selection | N/A | N/A | N/A | 0 | 0 | 0.882 | HIGH | 4.75 | 6.36 | 153.59 | N/A | 0 | FAIL | 1992 | 79610.22 | 69075.47 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0005 | PASS | 0 | 0 | 0 | PASS | N/A | {'trunk': 6.0, 'head': 7.0, 'upper_proximal': 8.0, 'upper_distal': 10.0, 'lower_proximal': 8.0, 'lower_distal': 10.0} | TRUE | PASS | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | PASS | No high-velocity events detected | TRUE | 0 | None | None | 1992 | 41.37 | 0 | 100 | PASS | 92.8 | ACCEPT | 100 | 100 | 100 | 70 | 100 | 72 | 100 | 30 | 100 | 100 | clean | MODERATE_EXCESS | EXTREME | EXCELLENT | NORMAL | MINIMAL | TRUE
621_T3_P1_R1_Take 2025-12-02 06.34.05 PM | 621 | T3 | 2026-01-23 20:58 | v2.6_calibration_enhanced | 30330 | 252.7 | 120 | 0 | 0 | 0.355 | GOLD | Hips->Spine | linear_quaternion_normalized | 120 | 0 | PERFECT | CubicSpline | SLERP | 0 | Per-Region Winter Cutoff Selection | N/A | N/A | N/A | 0 | 0 | 0.958 | HIGH | -5.17 | -3.73 | 152.92 | N/A | 0 | FAIL | 1574.01 | 96411.65 | 89555 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0005 | PASS | 0 | 0 | 0 | PASS | N/A | {'trunk': 6.0, 'head': 7.0, 'upper_proximal': 8.0, 'upper_distal': 10.0, 'lower_proximal': 8.0, 'lower_distal': 10.0} | TRUE | PASS | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | PASS | No high-velocity events detected | TRUE | 0 | None | None | 1574.01 | 49.19 | 0 | 100 | PASS | 92.8 | ACCEPT | 100 | 100 | 100 | 70 | 100 | 72 | 100 | 30 | 100 | 100 | clean | MODERATE_EXCESS | EXTREME | EXCELLENT | NORMAL | MINIMAL | TRUE
734_T3_P1_R1_Take 2025-12-30 04.12.54 PM_001 | 734 | T3 | 2026-01-23 21:02 | v2.6_calibration_enhanced | 33959 | 283 | 120 | 0 | 0 | 0.411 | GOLD | Hips->Spine | linear_quaternion_normalized | 120 | 0 | PERFECT | CubicSpline | SLERP | 0 | Per-Region Winter Cutoff Selection | N/A | N/A | N/A | 0 | 0 | 0.911 | HIGH | 8.55 | 9.33 | 158.25 | N/A | 0 | FAIL | 1712.44 | 87563.19 | 71637.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0005 | PASS | 0 | 0 | 0 | PASS | N/A | {'trunk': 6.0, 'head': 7.0, 'upper_proximal': 8.0, 'upper_distal': 10.0, 'lower_proximal': 8.0, 'lower_distal': 10.0} | TRUE | PASS | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | PASS | No high-velocity events detected | TRUE | 0 | None | None | 1712.44 | 34.42 | 0 | 100 | PASS | 92.8 | ACCEPT | 100 | 100 | 100 | 70 | 100 | 72 | 100 | 30 | 100 | 100 | clean | MODERATE_EXCESS | EXTREME | EXCELLENT | NORMAL | MINIMAL | TRUE

## Parameter_Audit
Run_ID | step_01_identity_run_id | step_01_identity_processing_timestamp | step_01_identity_pipeline_version | step_01_identity_csv_source | step_01_raw_data_quality_total_frames | step_01_raw_data_quality_missing_data_percent | step_01_raw_data_quality_sampling_rate_actual | step_01_raw_data_quality_optitrack_mean_error_mm | step_01_raw_data_quality_optitrack_version | step_01_calibration_pointer_tip_rms_error_mm | step_01_calibration_wand_error_mm | step_01_calibration_export_date | step_01_skeleton_info_segments_found_count | step_01_skeleton_info_segments_missing_count | step_01_duration_sec | step_02_run_id | step_02_raw_missing_percent | step_02_post_missing_percent | step_02_max_interpolation_gap | step_02_bone_qc_mean_cv | step_02_bone_qc_status | step_02_bone_qc_alerts | step_02_worst_bone | step_02_interpolation_method | step_03_run_id | step_03_target_fs | step_03_time_grid_std_dt | step_03_temporal_status | step_03_interpolation_methods_positions | step_03_interpolation_methods_rotations | step_04_run_id | step_04_identity_timestamp | step_04_identity_pipeline_version | step_04_subject_metadata_mass_kg | step_04_subject_metadata_height_cm | step_04_raw_quality_total_frames | step_04_raw_quality_sampling_rate_actual | step_04_filter_params_filter_type | step_04_filter_params_filter_method | step_04_filter_params_filter_cutoff_hz | step_04_filter_params_filter_range_hz | step_04_filter_params_filter_order | step_04_filter_params_winter_analysis_failed | step_04_filter_params_winter_failure_reason | step_04_filter_params_decision_reason | step_04_filter_params_residual_rms_mm | step_04_filter_params_residual_slope | step_04_filter_params_biomechanical_guardrails_enabled | step_05_run_id | step_05_subject_context_height_cm | step_05_subject_context_scaling_factor | step_05_subject_context_height_status | step_05_static_offset_audit_Left_measured_angle_deg | step_05_static_offset_audit_Right_measured_angle_deg | step_05_window_metadata_start_time_sec | step_05_window_metadata_end_time_sec | step_05_window_metadata_variance_score | step_05_window_metadata_ref_quality_score | step_05_window_metadata_confidence_level | step_05_window_metadata_detection_method | step_05_metadata_grade | step_05_metadata_status | step_06_run_id | step_06_overall_status | step_06_metrics_angular_velocity_max | step_06_metrics_angular_velocity_limit | step_06_metrics_angular_accel_max | step_06_metrics_linear_accel_max | step_06_signal_quality_avg_residual_rms | step_06_signal_quality_max_quat_norm_err | step_06_movement_metrics_path_length_mm | step_06_movement_metrics_intensity_index | step_06_outlier_analysis_counts_total_outliers | step_06_outlier_analysis_percentages_total_outliers | step_06_outlier_analysis_consecutive_runs_max_consecutive_any_outlier | step_06_pipeline_params_sg_window_sec | step_06_pipeline_params_fs_target
505_T2_P1_R1_Take 2025-11-17 05.24.24 PM | 505_T2_P1_R1_Take 2025-11-17 05.24.24 PM | 2026-01-23 20:56 | v2.6_calibration_enhanced | C:\Users\drorh\OneDrive - Mobileye\Desktop\gaga\data\505/T2/505_T2_P1_R1_Take 2025-11-17 05.24.24 PM.csv | 31257 | 0.00% | 120.0048 | 0 | unknown | N/A | N/A | N/A | 51 | 0 | 260.4667 | 505_T2_P1_R1_Take 2025-11-17 05.24.24 PM | 0 | 0 | 10 | 0.41 | GOLD | ['Hips->Spine'] | Hips->Spine | linear_quaternion_normalized | 505_T2_P1_R1_Take 2025-11-17 05.24.24 PM | 120 | 0 | PERFECT | CubicSpline | SLERP | 505_T2_P1_R1_Take 2025-11-17 05.24.24 PM | 2026-01-23 20:57 | v2.8_per_region_filtering | N/A | N/A | 31257 | 120 | Winter Residual Analysis + Butterworth Low-pass (Zero-phase) | Per-Region Winter Cutoff Selection | N/A | N/A | 2 | N/A | N/A | N/A | N/A | N/A | N/A | 505_T2_P1_R1_Take 2025-11-17 05.24.24 PM | 153.5854 | 1 | N/A | 4.75 | 6.36 | 1.3 | 2.3 | 23.6631 | 0.88168 | HIGH | auto_stable_window | HIGH | LOCKED | 505_T2_P1_R1_Take 2025-11-17 05.24.24 PM | FAIL | 1992 | N/A | 79610.22 | 69075.47 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0.175 | 120
621_T3_P1_R1_Take 2025-12-02 06.34.05 PM | 621_T3_P1_R1_Take 2025-12-02 06.34.05 PM | 2026-01-23 20:58 | v2.6_calibration_enhanced | C:\Users\drorh\OneDrive - Mobileye\Desktop\gaga\data\621/T3/621_T3_P1_R1_Take 2025-12-02 06.34.05 PM.csv | 30330 | 0.00% | 120.0048 | 0 | unknown | N/A | N/A | N/A | 51 | 0 | 252.7417 | 621_T3_P1_R1_Take 2025-12-02 06.34.05 PM | 0 | 0 | 10 | 0.355 | GOLD | ['Hips->Spine'] | Hips->Spine | linear_quaternion_normalized | 621_T3_P1_R1_Take 2025-12-02 06.34.05 PM | 120 | 0 | PERFECT | CubicSpline | SLERP | 621_T3_P1_R1_Take 2025-12-02 06.34.05 PM | 2026-01-23 20:58 | v2.8_per_region_filtering | N/A | N/A | 30330 | 120 | Winter Residual Analysis + Butterworth Low-pass (Zero-phase) | Per-Region Winter Cutoff Selection | N/A | N/A | 2 | N/A | N/A | N/A | N/A | N/A | N/A | 621_T3_P1_R1_Take 2025-12-02 06.34.05 PM | 152.9204 | 1 | N/A | -5.17 | -3.73 | 3.9 | 4.9 | 8.3488 | 0.95826 | HIGH | auto_stable_window | HIGH | LOCKED | 621_T3_P1_R1_Take 2025-12-02 06.34.05 PM | FAIL | 1574.01 | N/A | 96411.65 | 89555 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0.175 | 120
734_T1_P1_R1_Take 2025-12-01 02.18.27 PM | 734_T1_P1_R1_Take 2025-12-01 02.18.27 PM | 2026-01-23 20:59 | v2.6_calibration_enhanced | C:\Users\drorh\OneDrive - Mobileye\Desktop\gaga\data\734/T1/734_T1_P1_R1_Take 2025-12-01 02.18.27 PM.csv | 30798 | 0.00% | 120.0048 | 0 | unknown | N/A | N/A | N/A | 51 | 0 | 256.6417 | 734_T1_P1_R1_Take 2025-12-01 02.18.27 PM | 0 | 0 | 10 | 0.408 | GOLD | ['Hips->Spine', 'Neck->Head'] | Hips->Spine | linear_quaternion_normalized | 734_T1_P1_R1_Take 2025-12-01 02.18.27 PM | 120 | 0 | PERFECT | CubicSpline | SLERP | 734_T1_P1_R1_Take 2025-12-01 02.18.27 PM | 2026-01-23 20:59 | v2.8_per_region_filtering | N/A | N/A | 30798 | 120 | Winter Residual Analysis + Butterworth Low-pass (Zero-phase) | Per-Region Winter Cutoff Selection | N/A | N/A | 2 | N/A | N/A | N/A | N/A | N/A | N/A | 734_T1_P1_R1_Take 2025-12-01 02.18.27 PM | 152.6502 | 1 | N/A | 10.13 | 11.34 | 0 | 1 | 36.0008 | 0.82 | HIGH | auto_stable_window | HIGH | LOCKED | 734_T1_P1_R1_Take 2025-12-01 02.18.27 PM | PASS | 1026.98 | N/A | 42551.5 | 38871.19 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0.175 | 120
734_T3_P1_R1_Take 2025-12-30 04.12.54 PM_001 | 734_T3_P1_R1_Take 2025-12-30 04.12.54 PM_001 | 2026-01-23 21:02 | v2.6_calibration_enhanced | C:\Users\drorh\OneDrive - Mobileye\Desktop\gaga\data\734/T3/734_T3_P1_R1_Take 2025-12-30 04.12.54 PM_001.csv | 33959 | 0.00% | 120.0048 | 0 | unknown | N/A | N/A | N/A | 51 | 0 | 282.9833 | 734_T3_P1_R1_Take 2025-12-30 04.12.54 PM_001 | 0 | 0 | 10 | 0.411 | GOLD | ['Hips->Spine'] | Hips->Spine | linear_quaternion_normalized | 734_T3_P1_R1_Take 2025-12-30 04.12.54 PM_001 | 120 | 0 | PERFECT | CubicSpline | SLERP | 734_T3_P1_R1_Take 2025-12-30 04.12.54 PM_001 | 2026-01-23 21:03 | v2.8_per_region_filtering | N/A | N/A | 33958 | 120 | Winter Residual Analysis + Butterworth Low-pass (Zero-phase) | Per-Region Winter Cutoff Selection | N/A | N/A | 2 | N/A | N/A | N/A | N/A | N/A | N/A | 734_T3_P1_R1_Take 2025-12-30 04.12.54 PM_001 | 158.2467 | 1 | N/A | 8.55 | 9.33 | 2 | 3 | 17.8897 | 0.91055 | HIGH | auto_stable_window | HIGH | LOCKED | 734_T3_P1_R1_Take 2025-12-30 04.12.54 PM_001 | FAIL | 1712.44 | N/A | 87563.19 | 71637.45 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0.175 | 120
763_T2_P1_R1_Take 2025-12-25 10.51.23 AM_002 | 763_T2_P1_R1_Take 2025-12-25 10.51.23 AM_002 | 2026-01-23 21:00 | v2.6_calibration_enhanced | C:\Users\drorh\OneDrive - Mobileye\Desktop\gaga\data\763/T2/763_T2_P1_R1_Take 2025-12-25 10.51.23 AM_002.csv | 30457 | 0.00% | 120.0048 | 0 | unknown | N/A | N/A | N/A | 51 | 0 | 253.8 | 763_T2_P1_R1_Take 2025-12-25 10.51.23 AM_002 | 0 | 0 | 10 | 0.404 | GOLD | ['Hips->Spine', 'Neck->Head'] | Hips->Spine | linear_quaternion_normalized | 763_T2_P1_R1_Take 2025-12-25 10.51.23 AM_002 | 120 | 0 | PERFECT | CubicSpline | SLERP | 763_T2_P1_R1_Take 2025-12-25 10.51.23 AM_002 | 2026-01-23 21:01 | v2.8_per_region_filtering | N/A | N/A | 30456 | 120 | Winter Residual Analysis + Butterworth Low-pass (Zero-phase) | Per-Region Winter Cutoff Selection | N/A | N/A | 2 | N/A | N/A | N/A | N/A | N/A | N/A | 763_T2_P1_R1_Take 2025-12-25 10.51.23 AM_002 | 149.2605 | 1 | N/A | 4.27 | 3.8 | 1.7 | 2.7 | 2.6022 | 0.98699 | HIGH | auto_stable_window | HIGH | LOCKED | 763_T2_P1_R1_Take 2025-12-25 10.51.23 AM_002 | FAIL | 1368 | N/A | 81304.33 | 69825.06 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0.175 | 120

## Parameter_Schema
Step | Parameter_Path | Type | Section | Section_Name | Description
step_01 | identity.run_id | str | S0 | Data Lineage & Provenance | Unique recording identifier extracted from filename. Format: {SubjectID}_{SessionID}_{PoseID}_{RepID}_Take {timestamp}. Used as primary key throughout pipeline. Code: notebooks/01_parse_csv.ipynb -> parse_take_name()
step_01 | identity.processing_timestamp | str | S0 | Data Lineage & Provenance | ISO 8601 timestamp when this pipeline step executed. Used for audit trail and reproducibility tracking. Format: YYYY-MM-DD HH:MM:SS
step_01 | identity.pipeline_version | str | S0 | Data Lineage & Provenance | Semantic version of pipeline code (e.g., v2.6_calibration_enhanced). Enables backward compatibility checks and regression tracking. Set in config/config_v1.yaml
step_01 | identity.csv_source | str | S0 | Data Lineage & Provenance | Relative path to source CSV file from project root. Preserves data lineage per Cereatti et al. (2024) recommendations for motion capture provenance
step_01 | raw_data_quality.total_frames | int | S2 | Temporal Quality & Sampling | Total number of frames (rows) in the raw CSV after header parsing. At 120Hz: 7200 frames = 1 minute. Used to validate recording completeness and compute duration
step_01 | raw_data_quality.missing_data_percent | str | S3 | Gap & Interpolation Transparency | Percentage of NaN/empty cells in position and rotation columns. Formula: $\frac{\text{NaN cells}}{\text{total cells}} \times 100$. Threshold: <5% acceptable, >10% requires review. Code: notebooks/01_parse_csv.ipynb -> compute_missing_stats()
step_01 | raw_data_quality.sampling_rate_actual | float | S2 | Temporal Quality & Sampling | Computed sampling rate from timestamp column. Formula: $f_s = \frac{N-1}{t_{N-1} - t_0}$ Hz. Expected: 120.0 Hz for OptiTrack. Deviation >1% triggers warning. Code: notebooks/01_parse_csv.ipynb -> compute_sampling_rate()
step_01 | raw_data_quality.optitrack_mean_error_mm | float | S1 | Rácz Calibration Layer | OptiTrack system calibration error from Motive export metadata. Reflects volume calibration quality per Rácz et al. (2025) Calibration Layer. Thresholds: GOLD<0.5mm (research-grade), SILVER 0.5-1mm (acceptable), BRONZE>1mm (review needed). Extracted from CSV header
step_01 | raw_data_quality.optitrack_version | str | S0 | Data Lineage & Provenance | OptiTrack Motive software version string from CSV header. Important for tracking API changes and known issues. Format: 'Motive X.Y.Z'
step_01 | calibration.pointer_tip_rms_error_mm | float | S1 | Rácz Calibration Layer | RMS error of pointer tip during anatomical landmark digitization. Measures precision of virtual marker placement on bony landmarks. Formula: $RMS = \sqrt{\frac{1}{n}\sum_{i=1}^{n}(x_i - \bar{x})^2}$. Threshold: <1mm for accurate joint center estimation. Ref: CAST technique (Cappozzo et al., 1995)
step_01 | calibration.wand_error_mm | float | S1 | Rácz Calibration Layer | Wand calibration error for capture volume. Indicates spatial accuracy of marker reconstruction across the capture space. Threshold: <0.5mm for sub-millimeter accuracy. Affects all downstream position calculations
step_01 | calibration.export_date | str | S0 | Data Lineage & Provenance | Date when data was exported from Motive. Format: YYYY-MM-DD. Used to correlate with calibration logs and session notes
step_01 | skeleton_info.segments_found_count | int | S1 | Rácz Calibration Layer | Number of skeleton segments successfully parsed from CSV columns. Expected: 21 for full-body (Hips, Spine, Spine1, Neck, Head, L/R Shoulder/Arm/ForeArm/Hand, L/R UpLeg/Leg/Foot/ToeBase). Missing segments indicate tracking dropout or export issues
step_01 | skeleton_info.segments_missing_count | int | S1 | Rácz Calibration Layer | Number of expected skeleton segments not found in CSV. Non-zero indicates partial export or tracking failure. Critical segments: Hips (root), Head (endpoint). Code: notebooks/01_parse_csv.ipynb -> validate_skeleton()
step_01 | duration_sec | float | S2 | Temporal Quality & Sampling | Recording duration in seconds. Formula: $T = \frac{N_{frames}}{f_s}$. Minimum viable: 30s for statistical analysis, 60s+ recommended for movement characterization. Used for intensity normalization
step_02 | run_id | str | S0 | Data Lineage & Provenance | Recording identifier matching step_01. Ensures traceability across pipeline steps
step_02 | raw_missing_percent | float | S3 | Gap & Interpolation Transparency | Missing data percentage BEFORE gap filling. Baseline for interpolation impact assessment. High values (>5%) indicate tracking occlusions or marker dropout. Code: notebooks/02_preprocess.ipynb -> compute_gap_statistics()
step_02 | post_missing_percent | float | S3 | Gap & Interpolation Transparency | Missing data percentage AFTER gap filling. Should approach 0% if gaps were fillable. Remaining gaps indicate unfillable regions (too long or at boundaries). Delta from raw_missing shows interpolation effectiveness
step_02 | max_interpolation_gap | int | S3 | Gap & Interpolation Transparency | Maximum gap length (frames) that was interpolated. Configurable threshold in config_v1.yaml. Default: 12 frames (100ms at 120Hz). Longer gaps are left unfilled to avoid hallucinating movement. Ref: Robertson et al. (2013) gap filling guidelines
step_02 | bone_qc_mean_cv | float | S1 | Rácz Calibration Layer | Mean coefficient of variation for all bone segment lengths across recording. Formula: $\overline{CV} = \frac{1}{N_b}\sum_{b=1}^{N_b}\frac{\sigma_b}{\mu_b} \times 100\%$ where $\sigma_b$ = std of bone b length, $\mu_b$ = mean length. Measures skeleton rigidity assumption validity. Thresholds per Rácz et al. (2025): GOLD<0.5% (rigid body), SILVER 0.5-1% (acceptable), BRONZE 1-2% (soft tissue artifact), FAIL>2% (tracking error). Code: notebooks/02_preprocess.ipynb -> compute_bone_cv()
step_02 | bone_qc_status | str | S1 | Rácz Calibration Layer | Categorical assessment of bone stability: GOLD/SILVER/BRONZE/FAIL. Based on mean CV thresholds. FAIL triggers pipeline warning and requires manual review. Used in score_calibration() quality scoring
step_02 | bone_qc_alerts | list | S1 | Rácz Calibration Layer | List of specific bone segments with CV > threshold. Format: ['LeftForeArm: 1.8%', 'RightHand: 2.1%']. Identifies problematic segments for targeted review. High CV in distal segments (hands/feet) is common due to soft tissue
step_02 | worst_bone | str | S1 | Rácz Calibration Layer | Bone segment with highest CV value. Primary candidate for visual inspection. Persistent issues in same bone across recordings may indicate marker placement problem or subject-specific anatomy
step_02 | interpolation_method | str | S3 | Gap & Interpolation Transparency | Primary interpolation method used for gap filling. Options: 'linear_quaternion_normalized' (SLERP for rotations, linear for positions), 'cubic_spline', 'pchip'. SLERP preserves unit quaternion constraint. Code: notebooks/02_preprocess.ipynb -> interpolate_gaps()
step_03 | run_id | str | S0 | Data Lineage & Provenance | Recording identifier for pipeline continuity
step_03 | target_fs | float | S2 | Temporal Quality & Sampling | Target uniform sampling frequency in Hz. Default: 120.0 Hz (matches OptiTrack native rate). All recordings resampled to this rate for cross-recording comparability. Set in config/config_v1.yaml -> fs_target
step_03 | time_grid_std_dt | float | S2 | Temporal Quality & Sampling | Standard deviation of time intervals after resampling. Formula: $\sigma_{\Delta t} = \sqrt{\frac{1}{N-1}\sum_{i=1}^{N-1}(\Delta t_i - \overline{\Delta t})^2}$. Ideal: 0.0 (perfectly uniform grid). Non-zero indicates numerical precision limits or edge effects. Code: notebooks/03_resample.ipynb -> validate_time_grid()
step_03 | temporal_status | str | S2 | Temporal Quality & Sampling | Categorical temporal grid quality: PERFECT (std=0), GOOD (std<0.1ms), REVIEW (std 0.1-1ms), FAIL (std>1ms). PERFECT required for accurate frequency analysis. Affects score_temporal_quality() scoring
step_03 | interpolation_methods.positions | str | S3 | Gap & Interpolation Transparency | Interpolation method for 3D position data during resampling. 'CubicSpline' preferred for C2 continuity (smooth velocity/acceleration). Linear fallback for edge cases. Code: notebooks/03_resample.ipynb -> resample_positions()
step_03 | interpolation_methods.rotations | str | S3 | Gap & Interpolation Transparency | Interpolation method for rotation data (quaternions). 'SLERP' (Spherical Linear Interpolation) required to maintain unit quaternion constraint and geodesic path on SO(3). Formula: $q(t) = \frac{\sin((1-t)\theta)}{\sin\theta}q_0 + \frac{\sin(t\theta)}{\sin\theta}q_1$. Ref: Shoemake (1985). Code: notebooks/03_resample.ipynb -> resample_rotations()
step_04 | run_id | str | S0 | Data Lineage & Provenance | Recording identifier for traceability
step_04 | identity.timestamp | str | S0 | Data Lineage & Provenance | Processing timestamp for this filtering run. Useful for debugging filter parameter changes over time
step_04 | identity.pipeline_version | str | S0 | Data Lineage & Provenance | Pipeline version at filtering time. Filter parameters may change between versions
step_04 | subject_metadata.mass_kg | float | S0 | Data Lineage & Provenance | Subject body mass in kg from data/subject_metadata.json. Used for intensity index normalization and biomechanical plausibility checks. Default: 70kg if not specified
step_04 | subject_metadata.height_cm | float | S0 | Data Lineage & Provenance | Subject height in cm from metadata. Used for anthropometric validation and scaling. Cross-checked against skeleton measurements
step_04 | raw_quality.total_frames | int | S2 | Temporal Quality & Sampling | Frame count at filtering stage. Should match step_01 unless trimming occurred
step_04 | raw_quality.sampling_rate_actual | float | S2 | Temporal Quality & Sampling | Confirmed sampling rate for Nyquist frequency calculation. Filter cutoff must be < fs/2
step_04 | filter_params.filter_type | str | S4 | Winter's Residual Validation | Human-readable filter description. e.g., 'Butterworth Low-Pass, Order 2, Zero-Lag (filtfilt)'. Documents exact filter configuration
step_04 | filter_params.filter_method | str | S4 | Winter's Residual Validation | Filter selection method. Options: 'Winter Residual Analysis' (data-driven), 'Fixed Cutoff' (manual), 'Per-Region Winter Cutoff Selection' (region-specific). Per-region applies different cutoffs to proximal vs distal segments
step_04 | filter_params.filter_cutoff_hz | float | S4 | Winter's Residual Validation | Selected low-pass filter cutoff frequency in Hz. Winter method finds knee-point: $f_c = \arg\min_{f} \{RMS(f) : \frac{d(RMS)}{df} < \epsilon\}$. Typical dance range: 4-12 Hz. Lower cutoff = more smoothing, higher = preserves fast movements. Code: notebooks/04_filtering.ipynb -> winter_residual_analysis()
step_04 | filter_params.filter_range_hz | list | S4 | Winter's Residual Validation | Search range [min, max] for Winter analysis. Default: [1, 12] Hz. Expanded to [1, 16] Hz for Gaga dance with rapid distal movements. Set in config_v1.yaml
step_04 | filter_params.filter_order | int | S4 | Winter's Residual Validation | Butterworth filter order N. Effective order = 2N due to forward-backward (filtfilt) application. Default: 2 (4th order effective). Higher order = sharper cutoff but more ringing. Code: scipy.signal.butter()
step_04 | filter_params.winter_analysis_failed | bool | S4 | Winter's Residual Validation | True if Winter analysis could not find valid knee-point. Causes: insufficient data, no clear noise floor, or residual curve doesn't converge. Triggers fallback to fixed cutoff (6 Hz default)
step_04 | filter_params.winter_failure_reason | str | S4 | Winter's Residual Validation | Diagnostic message when Winter analysis fails. e.g., 'No knee-point found - residual monotonically decreasing', 'Insufficient frequency range'. Guides manual review
step_04 | filter_params.decision_reason | str | S4 | Winter's Residual Validation | Human-readable rationale for cutoff selection. e.g., 'Winter knee-point at 8.5 Hz', 'Fallback to 6 Hz due to analysis failure', 'Per-region: Arms=10Hz, Legs=7Hz, Spine=5Hz'
step_04 | filter_params.residual_rms_mm | float | S4 | Winter's Residual Validation | RMS of filter residual (raw - filtered) at selected cutoff. Formula: $RMS = \sqrt{\frac{1}{n}\sum_{i=1}^{n}(x_{raw,i}-x_{filt,i})^2}$. Quantifies 'price of smoothing' - how much signal removed. Policy: GOLD<15mm (minimal smoothing), SILVER 15-30mm (acceptable), REVIEW>30mm (excessive). Code: notebooks/04_filtering.ipynb -> compute_residual_rms()
step_04 | filter_params.residual_slope | float | S4 | Winter's Residual Validation | Slope of residual-vs-frequency curve at knee-point. Indicates convergence quality. Near-zero slope = clear transition between signal and noise. Steep slope = ambiguous cutoff region
step_04 | filter_params.biomechanical_guardrails.enabled | bool | S4 | Winter's Residual Validation | Whether biomechanical plausibility checks were applied post-filtering. Guardrails flag physically impossible values (e.g., >2000 deg/s angular velocity). Code: notebooks/04_filtering.ipynb -> apply_guardrails()
step_05 | run_id | str | S0 | Data Lineage & Provenance | Recording identifier for continuity
step_05 | subject_context.height_cm | float | S0 | Data Lineage & Provenance | Subject height computed from skeleton in reference pose. Formula: $h = \¦p_{head} - p_{foot\_midpoint}\¦_2$ in global frame. Cross-validated against metadata. Used for anthropometric scaling and sanity checks. Code: notebooks/05_reference.ipynb -> compute_subject_height()
step_05 | subject_context.scaling_factor | float | S0 | Data Lineage & Provenance | Scale factor applied to normalize skeleton. Default: 1.0 (no scaling). Non-unity indicates size normalization for cross-subject comparison
step_05 | subject_context.height_status | str | S0 | Data Lineage & Provenance | Height validation result: PASS (within 10% of metadata), REVIEW (10-20% deviation), FAIL (>20% or impossible value). Catches unit errors or wrong subject association
step_05 | static_offset_audit.Left.measured_angle_deg | float | S1 | Rácz Calibration Layer | Left arm abduction angle from vertical in reference pose. Measures T-pose deviation. Formula: $\theta = \arccos(\hat{v}_{arm} \cdot \hat{v}_{vertical})$. Threshold per Rácz: <15° acceptable. Used to correct systematic arm offset in joint angles. Code: notebooks/05_reference.ipynb -> compute_arm_offset()
step_05 | static_offset_audit.Right.measured_angle_deg | float | S1 | Rácz Calibration Layer | Right arm abduction angle from vertical in reference pose. Asymmetry between L/R may indicate postural habit or marker placement inconsistency
step_05 | window_metadata.start_time_sec | float | S5 | Reference Detection & Stability | Start time (seconds) of detected static reference window. Window selected for minimal motion variance across key joints (Hips, Hands). Code: notebooks/05_reference.ipynb -> detect_static_window()
step_05 | window_metadata.end_time_sec | float | S5 | Reference Detection & Stability | End time (seconds) of static window. Typical duration: 0.5-2.0 seconds. Longer windows reduce noise but may include micro-movements
step_05 | window_metadata.variance_score | float | S5 | Reference Detection & Stability | Motion variance in detected window. Formula: $V = \sum_{j \in joints} \text{Var}(p_j(t))$ for t in window. Lower = more stable reference. Used to rank candidate windows
step_05 | window_metadata.ref_quality_score | float | S5 | Reference Detection & Stability | Normalized reference quality score [0-1]. Combines variance, duration, and temporal position factors. Formula: $Q = w_1(1-V_{norm}) + w_2 D_{norm} + w_3 T_{penalty}$. Threshold: >0.7 for HIGH confidence. Code: notebooks/05_reference.ipynb -> score_reference_window()
step_05 | window_metadata.confidence_level | str | S5 | Reference Detection & Stability | Categorical confidence: HIGH (Q>0.8, clear static period), MEDIUM (0.6-0.8, acceptable), LOW (<0.6, no clear static pose). LOW triggers fallback to first-frame reference
step_05 | window_metadata.detection_method | str | S5 | Reference Detection & Stability | Algorithm used: 'auto_stable_window' (sliding window variance minimization), 'first_frame_fallback' (if no stable period found), 'manual_override' (user-specified)
step_05 | metadata.grade | str | S5 | Reference Detection & Stability | Overall reference quality grade: HIGH/MEDIUM/LOW. Aggregates confidence and offset severity. Used in score_reference() quality scoring
step_05 | metadata.status | str | S5 | Reference Detection & Stability | Reference lock status: 'LOCKED' (validated, used for all angle computations), 'PROVISIONAL' (needs manual confirmation), 'REJECTED' (unusable, pipeline halted)
step_06 | run_id | str | S0 | Data Lineage & Provenance | Recording identifier completing the pipeline chain
step_06 | overall_status | str | S8 | Decision Matrix | Pipeline completion status. Values: 'COMPLETED_STEP_06' (full pipeline success), 'PARTIAL' (some joints failed), 'FAILED' (critical error). Logged to overall_gate_status for batch processing
step_06 | metrics.angular_velocity.max | float | S6 | Biomechanics & Outlier Analysis | Maximum angular velocity across all joints and frames (deg/s). Formula: $\omega_{max} = \max_{j,t} \¦\omega_j(t)\¦$ where $\omega = 2 \cdot \frac{dq}{dt} \cdot q^*$ (quaternion derivative method). Physiological limits: Normal movement <800, Athletic <1500, Gaga dance up to 2250 deg/s (distal segments). Exceeding 2500 suggests tracking artifact. Code: notebooks/06_rotvec_omega.ipynb -> compute_angular_velocity()
step_06 | metrics.angular_velocity.limit | float | S6 | Biomechanics & Outlier Analysis | Configurable physiological limit for angular velocity (deg/s). Default: 1500 (athletic baseline). Set in config_v1.yaml. Used for outlier classification threshold
step_06 | metrics.angular_accel.max | float | S6 | Biomechanics & Outlier Analysis | Maximum angular acceleration (deg/s²). Formula: $\alpha_{max} = \max_{j,t} \¦\frac{d\omega}{dt}\¦$. Computed via Savitzky-Golay differentiation of angular velocity. Thresholds: ACCEPTABLE<30k (smooth movement), HIGH 30-50k (rapid transitions), EXTREME>50k (potential artifact or impact). Code: notebooks/06_rotvec_omega.ipynb -> compute_angular_acceleration()
step_06 | metrics.linear_accel.max | float | S6 | Biomechanics & Outlier Analysis | Maximum linear acceleration of any segment endpoint (mm/s²). Injury risk indicator for impacts. Formula: $a_{max} = \max_{j,t} \¦\ddot{p}_j(t)\¦$. Thresholds: SAFE<50k (normal), ELEVATED 50-100k (high intensity), SEVERE>100k (impact/fall). Units converted to m/s² for comparison with literature
step_06 | signal_quality.avg_residual_rms | float | S7 | Signal-to-Noise Quantification | Mean RMS residual across all filtered signals. Formula: $\overline{RMS} = \frac{1}{N_j}\sum_{j=1}^{N_j} RMS_j$. Aggregates 'price of smoothing' from step_04. Policy: GOLD<15mm (minimal distortion), SILVER 15-30mm (acceptable for research), REVIEW>30mm (filter may be removing signal). Code: notebooks/06_rotvec_omega.ipynb -> aggregate_signal_quality()
step_06 | signal_quality.max_quat_norm_err | float | S2 | Temporal Quality & Sampling | Maximum quaternion normalization error across all frames. Formula: $\epsilon_{max} = \max_{j,t} ¦\¦q_{j,t}\¦ - 1¦$. Should be <1e-6 after normalization. Values >0.01 indicate numerical instability or corrupted quaternions. ISB compliance requires unit quaternions. Code: notebooks/06_rotvec_omega.ipynb -> validate_quaternion_norms()
step_06 | movement_metrics.path_length_mm | float | S6 | Biomechanics & Outlier Analysis | Total 3D path length of root segment (Hips) in mm. Formula: $L = \sum_{t=1}^{N-1} \¦p(t+1) - p(t)\¦$. Measures total displacement during recording. Used for movement intensity characterization and cross-recording normalization
step_06 | movement_metrics.intensity_index | float | S6 | Biomechanics & Outlier Analysis | Normalized movement intensity index. Formula: $I = \frac{\sum_j \sum_t \¦\omega_j(t)\¦ \cdot \Delta t}{m \cdot T}$ where m=body mass (kg), T=duration. Units: (deg·s)/(kg·s) = deg/kg. Enables cross-subject comparison. Higher values indicate more vigorous movement. Code: notebooks/06_rotvec_omega.ipynb -> compute_intensity_index()
step_06 | outlier_analysis.counts.total_outliers | int | S6 | Biomechanics & Outlier Analysis | Total frames flagged as outliers across all joints. Outlier = exceeds any threshold (velocity, acceleration, or jerk). Used for data_usable determination. Policy: >5% triggers REVIEW
step_06 | outlier_analysis.percentages.total_outliers | float | S6 | Biomechanics & Outlier Analysis | Percentage of frames with at least one outlier. Formula: $\frac{N_{outlier}}{N_{total}} \times 100$. Key decision metric. Thresholds: <1% ACCEPT, 1-5% REVIEW, >5% requires manual inspection. Code: notebooks/06_rotvec_omega.ipynb -> compute_outlier_statistics()
step_06 | outlier_analysis.consecutive_runs.max_consecutive_any_outlier | int | S6 | Biomechanics & Outlier Analysis | Longest run of consecutive outlier frames. Classification per burst analysis: 1-3 frames = Artifact (spike), 4-7 frames = Burst (rapid movement), 8+ frames = Flow (sustained high intensity). Artifacts excluded from clean statistics; Bursts/Flows preserved as legitimate Gaga movement. Code: notebooks/06_rotvec_omega.ipynb -> classify_outlier_runs()
step_06 | pipeline_params.sg_window_sec | float | S6 | Biomechanics & Outlier Analysis | Savitzky-Golay filter window for differentiation (seconds). Default: 0.175s (21 frames at 120Hz). Balances noise reduction vs. temporal resolution. Polynomial order fixed at 3. Code: scipy.signal.savgol_filter()
step_06 | pipeline_params.fs_target | float | S2 | Temporal Quality & Sampling | Confirmed target sampling rate used for all time-derivative calculations. Must match step_03 target_fs for consistent frequency analysis